## Products
Catagory | Style | ProductID | ProductDescription | Mfg. | Units Available
AD | ACC | DFA24/24 | 24x24 Plaster Frame Alum |  | 4
AD | ACC | DFS24/24 | DFS 24/24 STEEL |  | 0
AD | ACC | DFS2424 |  |  | 0
AD | ACC | OBDDL8/8 | Verify if in stock |  | 1
AD | ACC | OBD-S10/10RG | 10x10 behind 51ECS or 5145H |  | 3
AD | ACC | OBD-S-SL-MI-12/12CD | 12x12 behind 6200 series |  | 0
AD | ACC | OBD-S-SL-MI-15/15CD | 15x15 behind 6200 series |  | 4
AD | ACC | OBD-S-SL-MI-16/16RG | 16x16 behind 51ECS or 5145H |  | 0
AD | ACC | OBD-S-SL-MI-20/20RG | 20x20 behind 51ECS or 5145H |  | 4
AD | ACC | OBD-S-SL-MI-22/22RG | 22x22 Behind 51ECS or 5145H |  | 1
AD | ACC | OBD-S-SL-MI-9/9CD | 9x9 Behind 6200 Series |  | 10
AD | ACC | SQR12/12 |  |  | 31
AD | ACC | SQR-12/12/12 |  |  | 8
AD | ACC | SQR-22/22/18 |  |  | 4
AD | ACC | SQR-22/22-12 | SQR 22x22 - 12 |  | 1
AD | ACC | SQR-22/22-8 | SQR 22x22 - 8 |  | 3
AD | ACC | SQR-O-15/15-8rnd | 15x15 to 08" rnd. |  | 1
AD | ACC | SQR-O-6/6-8rnd | 6x6 to 8" rnd. |  | 2
AD | ACC | SRD12/12-10 | 12x12 to 10" rnd. Sq. to Rnd. Adapter |  | 0
AD | ACC | SRD12/12-6rnd | 12x12 to 6" rnd. Sq. to Rnd Adpater |  | 3
AD | ACC | SRD15/15-12rnd | 15x15 to 12" rnd. Sq. to Rnd Adapter |  | 7
AD | ACC | SRD18/18-12rnd | 18x18 to 12" rnd. Sq. to Rnd Adpater |  | 1
AD | ACC | SRD9/9-10 | 9x9 to 10" Sq. to Rnd Adapter |  | 6
AD | VAV | CFR10-1/4hp-120V-NC | 1/4-120v-No Controls, No heat |  | 1
AD | VAV | D3001-12 | VAV 12" (DDC b/o) |  | 4
AD | VAV | D3001-6 | VAV 06" (DDC b/o) |  | -1
AD | VAV | D30RE-10-3kw-3st-480-3 | VAV 10" w/3.0kw 3step 480/3 (DDC b/o) |  | 1
AD | VAV | D30RE-14-5kw-2st-480-3 | VAV 14" w/5.0kw 2step 480/3 (DDC b/o) |  | 1
AD | VAV | D3101-8-DW | 8" VAV Box (no heat) DW Contr. (Short Box) |  | 0
AD | VAV | SDR06-NC | 6" VAV (less heat, no controls) |  | 2
AD | VAV | SINGLEVELOCITYACTUATORS | Pneu Velocity Actuators Single Action |  | 4
AD | VAV | VCWD06-HWC-1R-PNEU | 6" VAV w/hwc 1 row (Pneu) |  | 1
AD |  | 4070RL12/12-6 | 12x12-6" rnd Return Air Fire-Rated Perf. |  | 0
AD |  | 4070RL12/12-8 | 12x12-8" rnd Return Air Fire-Rated Perf. |  | 1
AD |  | 4080-24/24-14 | 24x24-14" FireRated Perf Diffuser |  | 1
AD |  | 4113-24/24 | 24x24 Fire Rated Perf Diffusers |  | 1
AD |  | 4128 |  |  | 4
AD |  | 4129-24/24 | Fire Rated Shroud |  | 6
AD |  | 4275-10 | 10" Round Radial Opposed Blade Damper |  | 20
AD |  | 4275-12 | 12" Radial Damper |  | 1
AD |  | 4275-6 | 6" Radial Damper |  | 4
AD |  | 4275-8 | 8" Radial Damper |  | 17
AD |  | 4320-10L24/24 | 10"-24x24-L-AW |  | 3
AD |  | 4320-10S24/24TBF | 10"-24x24-S-AW Ceiling Diffuser w/TBF |  | 0
AD |  | 4320-14L24/24 | 14"-24x24-L-AW Ceiling Diffuser |  | 2
AD |  | 4320-14S24/24 | 14"-24x24-S-AW Ceiling Diffuser |  | 0
AD |  | 4320-8L24/24 | 08"-24x24-L-AW Steel Ceiling Diffuser |  | 6
AD |  | 4320A8L24/24 | 08"-24x24-L-AW Aluminum Ceiling Diffuser |  | 4
AD |  | 4320CBA12-24/24 | 12"-24x24-L-AW-4A Ceiling Diffuser |  | 0
AD |  | 436022x10-24/12 | 22x10-24x12-L-AW Steel Perf Diffuser |  | 2
AD |  | 4360A22/22-24/24 | 22x22-24x24-L-AW Aluminum Perf Diffuser |  | 16
AD |  | 4360-L12-24/24 | 12"-24x24 Nk Steel Perf Return - White |  | 1
AD |  | 441 | Wall Cap |  | 0
AD |  | 4675-10 | 10" Butterfly Damper |  | 5
AD |  | 4675-14 | 14" Butterfly Damper |  | 2
AD |  | 4675-8 | 08" Butterfly Damper |  | 1
AD |  | 49-241-O-42x6.5x1/2 | Bar Linear 42"x 6.5"-MM-A-AW 1/2" Spacing 1/4" bars |  | 1
AD |  | 49-241-O-65.75x5.5x1/2 | Bar Linear 65.75"x5.5"-A-MM-AW 1/2" spacing 1/4" bars |  | 0
AD |  | 49-241-O-65.75x6.5x1/2 | Bar Linear 65.75"x6.5"-A-MM-AW 1/2" spacing 1/4" bars |  | 1
AD |  | 49-280-36/6-B-PP-AA-MM | Polish Aluminum Plenums (VERIFY QTY AND SIZE) |  | 19
AD |  | 49-280-B-PP-AA-MM | Polished Aluminum Plenums (VERIFY QTY & SIZE) |  | 5
AD |  | 4C962 | (2) sets of 4 Hanging RNS Isol (35# max ea) |  | 2
AD |  | 5010/36/03-C-MM-AW | Slot Linear w/mitre S/A |  | 9
AD |  | 5010/48/03-C-AW-FF | 5010 - 48" X 3 SLOT C-AW-FF |  | 4
AD |  | 5010/60/01-C-AW-OO | Slot Linear S/A C-AW-OO |  | 6
AD |  | 5010/60/03 | Slot Linear S/A |  | -2
AD |  | 5010/69.82/01-C-AW-FO | Slot Linear S/A C-AW-FO |  | 1
AD |  | 5010/69.82/01-C-AW-OO | Slot Linear S/A C-AW-OO |  | 9
AD |  | 5010-48/02 | 48x02 C-AW-FF Linear Slot Diffuers w/end flange |  | 1
AD |  | 5010R/192/03 | Slot Linear R/A C-MM-AW (3 pcs of 5' 4" each) |  | 1
AD |  | 5010R/36/03 | Slot Linear R/A C-MM-AW |  | 10
AD |  | 5010R/48/02-C-FF | Slot Linear R/A C-AW-FF |  | 1
AD |  | 5050/24/02-FF | Slot Linear S/A FF |  | -2
AD |  | 5050/48/02-C-MO | Slot Linear S/A C-MO |  | 3
AD |  | 5050R/24/02-FF | Slot Linear R/A FF |  | 2
AD |  | 5075/48/03-C-MM | Slot Linear S/A C-MM |  | -1
AD |  | 5075-60/1slt | 60" x 1 Slot Supply Air Linear Slot Diffuser |  | 2
AD |  | 50F |  |  | 2
AD |  | 5145-10/10-24/24TB | 10x10-NK- 24x24 TB-AW-PLA |  | 10
AD |  | 5145-14/14 | 14x14 AW-PLT |  | 1
AD |  | 5145H-12/6 | 12x6 Return Air Grille AW-A, No OBD |  | 1
AD |  | 5145H18/12 | 18x12 Aluminum Return Grille |  | 3
AD |  | 5145H24/24 | 24x24 AW-N Aluminum RA Grille - 45 degree Horizontal Blades |  | 4
AD |  | 5145H36/18 | 36x18 Aluminum Return Grille |  | 1
AD |  | 5145H-37.5/8 | 37.5x8 Aluminum Return Grille
AD |  | 5145H48/48 | 48x48 Alum Rag w/IS, Alum Finish |  | 1
AD |  | 5145HA-18/18 | 18x18 AW-A |  | 0
AD |  | 5145H-O-10/10 | 10x10 Aluminum Return Grille w/obd |  | 0
AD |  | 5145H-O-12/12 | 12X12 Aluminum Return Grille w/obd |  | 3
AD |  | 5145H-O-14/14 | 14x14 Aluminum Return Grille w/obd |  | 0
AD |  | 5145H-O-24/24 | 24x24 Aluminum Return Grille w/obd |  | 14
AD |  | 5145H-O-24x24NSH | 24x24 NK (No Screw holes) w/obd |  | 2
AD |  | 5145H-O-24x24-SM | 24x24 Aluminum Return Surface Mount |  | 2
AD |  | 5145H-O-6/6 | 06x06 Aluminum Return Grille w/obd |  | 2
AD |  | 5145H-O-8/8 | 08x08 Aluminum Return Grille w/obd |  | 0
AD |  | 5145H-OA-12/6 |  |  | 1
AD |  | 5145H-TB24/12-22/10 | 24x12-22x10 Lay-in Aluminum Return |  | 0
AD |  | 5145-O-24/12 | 24x12 Return Air Grille Register |  | 12
AD |  | 5145-O-24/24 | 24X24 Return Air Grille Register |  | 7
AD |  | 51C-18/8 | 18x8 AW-A-1A-AB |  | 2
AD |  | 51DGD18/12-SA | 18x12 Aluminum Door Grille (Satin Finish) |  | 4
AD |  | 51DH-24/8 | 24x8 AW-A Dble Deflection Sidewall Grille |  | 3
AD |  | 51DH-O-10/10 | 10x10 Alum Dble Defl Supply w/horiz blds, w/obd |  | 1
AD |  | 51DH-O-18/8 | 18x08 Alum Dble Defl Grille w/Vert Blds, w/obd |  | 5
AD |  | 51DH-O-24/14 | 24x14 Dble Deflection Sidewall Grille w/obd |  | 12
AD |  | 51DH-O-8/6 | 08x06 Dble Deflection Sidewall Grille w/obd |  | 3
AD |  | 51DV-O-20/8 | 20x8 |  | 4
AD |  | 51ECC48/24 | 48x24 Eggcrate Aluminum - Core Only |  | -6
AD |  | 51ECL24/24 | 24x24 Eggcrate Layin - White |  | 1
AD |  | 51ECL-24/24
AD |  | 51ECL-O-24/24 | 24x24 Eggcrate Layin w/obd |  | 31
AD |  | 51ECS12/12 | 51EC 12/12 SURFACE MOUNT |  | 0
AD |  | 51ECS-48/42 | 48X42 AW-A |  | 4
AD |  | 51ECS-O-24/24-SM
AD |  | 51ECS-O-48/24-OBD-SM
AD |  | 51ECS-OPL12/12 | 12x12 |  | 1
AD |  | 51ECS-O-PLA10/10 | 1/2"x1/2" N Return Aluminum 24x24 Panel w/10x10 nk |  | 1
AD |  | 51ECS-PLA10/10 | 1/2" Cube Return Aluminum 24x24 Panel w/10x10 nk |  | 2
AD |  | 51ECS-PLA12/12 | 1/2" Cube Return Aluminum 24x24 Panel w/12x12 nk |  | 7
AD |  | 51ECS-PLA14/14 | Eggcrate Return Aluminum 24x24 Panel w/14x14 nk |  | 8
AD |  | 51FB45-24/24 | 24x24 Aluminum Filter RA Grille - 45 Degree Deflection AW-HT-L-N |  | 1
AD |  | 51FBL24/24 | ALUM RETURN FLITER RA GRILLE24/24 45 DEGREES |  | 9
AD |  | 51FH | 24x24 AW-N |  | 19
AD |  | 51FH-0/24x24-AW-N | 24X24 RAG AW-N |  | 21
AD |  | 51PR 30/24 | 30 X 24 51-PR |  | 0
AD |  | 51SH-O-10/10 | 10x10 Alum Single Defl S/W Grille w/Vert Blds, w/obd |  | 1
AD |  | 51SH-O-30/12 | 30x12 Alum Single DeflGrille w/Vert Blds, w/obd |  | 24
AD |  | 51SH-O-8/8 | 8x8 Alum Single Defl Grille w/horiz bldes, w/obd |  | 3
AD |  | 51SV--OA-12/6 | 12x6 Single Deflc Vert SWG |  | 2
AD |  | 5310-I/36/03/12 inlet | Insulated w/12" Neck (5010) |  | 11
AD |  | 5310-I/36/03/6 inlet | Insulated w/6" Neck (5010) |  | 2
AD |  | 5310-I/36/03/8 inlet | Insulated w/8" Neck ( 5010) |  | 7
AD |  | 5310-I/60/03 | Insulated w/? Neck ( 5010) |  | -2
AD |  | 5375-I-48/04/10-INLET |  |  | 8
AD |  | 6145H10/10 | 10x10 AW-A Steel Return Grille |  | 3
AD |  | 6145H10/6 | 10x06 AW-A Steel Return Grille |  | 0
AD |  | 6145H12/10 | 12x10 AW-A Steel Return Grille |  | 0
AD |  | 6145H12/12 | 12x12 AW-A Steel Return Grille |  | 1
AD |  | 6145H14/10 | 14x10 AW-A Steel Return Grille |  | 2
AD |  | 6145H14/8 | 14x08 AW-A Steel Return Grille |  | 2
AD |  | 6145H16/10 | 16x10 AW-A Steel Return Grille |  | 1
AD |  | 6145H20/6 | 20x06 AW-A Steel Return Grille |  | 1
AD |  | 6145H22/22 | 22x22 AW-N Steel Return Grille |  | 2
AD |  | 6145H-O-8/8-24/24-S-AW-N-PLS-H |  |  | 5
AD |  | 6145-O-16/16-24/24/AW-N-PLS-H
AD |  | 6145-O-16/16-24/24-S-AW-N-PLS |  |  | 1
AD |  | 6145V46/22 | 46x22 Steel Lay-In Return |  | 1
AD |  | 61CO | 10x10 White 1A |  | 3
AD |  | 61DH12/6 | 12x06 Steel Supply Dble Defl, H, Sidewall Grille |  | 0
AD |  | 61DH18/18 | 18x18 Steel Dble Deflection Grilles (WH) |  | 50
AD |  | 61DH-O-10/8 | 10x08 Steel Supply Dble Defl, H, Sidewall Grille w/obd |  | 1
AD |  | 61DH-O-12/8 | 12x8 Dble Deflec S/W Reigster |  | 0
AD |  | 61DH-O-18/10 | 18x10 Steel Supply Dble Defl, H, Sidewall Grille w/obd |  | 0
AD |  | 61DH-O-18/6 | 18x06 Steel Supply Dble Defl, H, Sidewall Grille w/obd |  | 5
AD |  | 61DH-O-26/14 | 26x14 Steel Supply Dble Defl, Sidewall Grille w/obd |  | 2
AD |  | 61DH-O-30/12-H-OBD |  |  | 2
AD |  | 61DH-O-30/6 |  |  | 2
AD |  | 61DH-O-36/14 | 36x14 Steel Supply Dble Defl, H, Sidewall Grille w/obd
AD |  | 61DH-O-36/18 | 36x18 Steel Supply Dble Defl, H, Sidewall Grille w/obd |  | 2
AD |  | 61DH-O-36/6-H |  |  | 2
AD |  | 61DH-O-36x14 | 36x14 Steel Supply Dble Defl, H, Sidewall Grille w/obd |  | 10
AD |  | 61DH-O48/12-H |  |  | 1
AD |  | 61DV10/10 | 10x10 Steel Supply, Dble Defl, V, w/obd |  | 2
AD |  | 61DVO6/6 | 06x06 Steel Supply Dble Defl, V, w/obd |  | 4
AD |  | 61V | 15 Minute Timer |  | 61
AD |  | 6200-12/12-1W | 12x12 L-AW-1W Ceiling Diffuser |  | 1
AD |  | 6200-12/12-2WC | 12x12 L-AW-2WC Ceiling Diffuer |  | 1
AD |  | 6200-12/12-4W | 12x12 L-AW-4W Ceiling Diffuer (Needs Cones) |  | -8
AD |  | 6200-9/9-2WC | 9x9 L-AW-2WC Ceiling Diffuer |  | -9
AD |  | 6200-O-12/12-24/21-L-AW |  |  | 10
AD |  | 6200-O-14/14 |  |  | 10
AD |  | 6200-O-15/15 |  |  | 58
AD |  | 6200--O-6/6-24/24-L-AW |  |  | 1
AD |  | 6200-O-9/9 |  |  | 2
AD |  | 6200-O-9/9-24/24-L-AW |  |  | 1
AD |  | 6200-O-S12/12-4A | 12x12 Clg. Diffuser 4-way type "S" Frame - White |  | 1
AD |  | 6200-O-S9/9-4A | 09x09 Clg. Diffuser 4-way type "S" Frame - White |  | 12
AD |  | 6250-12/12-4W | 12x12 L-4W |  | -1
AD |  | 6250B18/18-4A | 18x18-4A Ceiling Diffusers "B" |  | 26
AD |  | 6500-12/12 | 12x12 Ceiling Diffuser Lay-In |  | 2
AD |  | 6500-15/15B | 15X15 Ceiling Diffuser Bevel Surface Mount |  | 1
AD |  | 6500-9/9 | 9x9 Ceiling Diffuser Lay-In |  | 5
AD |  | 6500IV-O-6/6-24/24-L-AW |  |  | 4
AD |  | 6500-O-B6/12 | 06x12 Steel Clg. Diffuser Type B (#3B) White |  | 2
AD |  | 6500-O-B6/6 | 06x06 Steel Clg. Diffuser Type B (#1B) White |  | 0
AD |  | 6500-O-B9/9 | 09x09 Steel Clg. Diffuser Type B (#4A) White |  | 2
AD |  | 6500-S12/9-3A | 12x09 Steel Clg. Diffuser (#3A) White |  | 3
AD |  | 6500-S9/6-3A | 09x06 Steel Clg. Diffuser (#3A) White |  | 3
AD |  | 7500-O-16/16 | Modular Core 16x16 nk. w/obd - White |  | 3
AD |  | AIRBARS | Airbars and Miscelleaneous Parts(+/- 24" Length and Various Widths) |  | 13
AD |  | AIRCURTAINPARTS | MARS AIR CURTAIN ROLLER MICRO SWITCHES |  | 1
AD |  | AR11 | Gravity BDD - (PRN110) |  | 0
AD |  | AR16 | Gravity BDD - (PV100,135, PRN135) |  | -8
AD |  | AR18 | Gravity BDD - (PV165) |  | 3
AD |  | AR850V-4 | AR850-4 4 Step Stage Controller |  | 1
AD |  | ARGF20/20 | 20x20 Flangeless Damper |  | 1
AD |  | ARGF24/24 | 24x24 Flangeless Damper |  | 0
AD |  | ARNS06 | 06" Rnd 24x24 Aluminum Cone Diffuser. - White |  | 66
AD |  | ARNS08 | 08" Rnd 24x24 Aluminum Cone Diffuser - White |  | 53
AD |  | ARNS10 | 10" Rnd 24x24 Aluminum Cone Diffuser - White |  | 117
AD |  | ARNS12 | 12" Rnd 24x24 Aluminum Cone Diffuser - White |  | 40
AD |  | ARNS12/12-6 | 06" Rnd 12x12 Aluminum Cone Diffuser - White |  | 1
AD |  | ARNS14 | 14" Rnd 24x24 Aluminum Cone Diffuser - White |  | 33
AD |  | ARNS15 | 15" Rnd 24x24 Aluminum Cone Diffuser - White |  | 4
AD |  | ASDI12/01-3/4-WH,W/EF | Slot linear w/end flange |  | 3
AD |  | ASDI24/01-3/4-WH,W/EF | Slot linear w/end flange R/A |  | 1
AD |  | ASDI24/02-3/4-WH | Slot linear w/end flange & Plenum 6" neck |  | 1
AD |  | ASDI24/02-3/4-WH-RA ONLY | R/A Only Slot Linear |  | 1
AD |  | ASDI36/01-3/4-WH,W/EF | Slot linear w/end flange R/A |  | 12
AD |  | ASDI48/01-3/4-WH,W/EF | Slot linear w/end flange R/A |  | 0
AD |  | ASDI48/02-3/4EF | 48x02x3/4 Linear Slot Diffuser w/end flange |  | 4
AD |  | ASDI72/01-3/4EF | 72x01x3/4 Linear Slot Diffuser w/end flange |  | 1
AD |  | ASDI72/01-3/4-WH,W/EF | Slot linear w/end flange S/A |  | 2
AD |  | AVP12/12-22S-WH | Ceiling Diffuser S / M |  | 0
AD |  | AVP12/12-24S-WH | Ceiling Diffuser S / M |  | 2
AD |  | AVP12/12-31-PLT | Ceiling Diffuser |  | 1
AD |  | AVP12/12-31S-WH | Ceiling Diffuser S / M |  | 4
AD |  | AVP12/12-42S-WH | Ceiling Diffuser S / M |  | 0
AD |  | AVP42S-WH | Ceiling Diffuser S / M |  | 0
AD |  | AVP6/6-12S-WH | Ceiling Diffuser S / M |  | 1
AD |  | AVP6/6-22S-WH | Ceiling Diffuser S / M |  | 3
AD |  | AVP6/6-24PLT-WH | Clg. Diffuser w/steel panel 2wc |  | 5
AD |  | AVP6/6-24S-WH | Ceiling Diffuser S / M |  | 1
AD |  | AVP6/6-31S-WH | Ceiling Diffuser S / M |  | 1
AD |  | AVP6/6-42-PLT | 6x6 |  | 1
AD |  | AVP6/6-42S-WH | Ceiling Diffuser S / M |  | 0
AD |  | AVP9/9-12S-WH | Ceiling Diffuser S/M |  | 1
AD |  | AVP9/9-22S-WH | Ceiling Diffuser S/M |  | 8
AD |  | AVP9/9-24PLT-WH | Clg. Diffuser w/steel panel 2wc |  | 1
AD |  | AVP9/9-31S-WH | Ceiling Diffuser S/M |  | 1
AD |  | AVP9/9-42PLT-WH | Clg. Diffuser w/steel panel 4w |  | 2
AD |  | AVP9/9-42S-WH | Ceiling Diffuser S/M |  | 1
AD |  | AVP-PLT-6/6-2wc | 6x6 Clg. Diffuser w/24x24 Aluminum Panel 2wc |  | 1
AD |  | AVP-PLT-6/6-4w | 6x6 Clg. Diffuser w/24x24 Aluminum Panel 4w |  | 1
AD |  | AVP-S-12/12-4w | 12x12 Clg. Diffuser Bev. Fr. 4w White |  | 1
AD |  | B-20EE-4'x1sl-4'8"radius | Curved Slot Linear 4' x 1-2" slot w/ 4'8" radius |  | 6
AD |  | CBOB12/12-4w | 12x12 Curved Blade 4-Way |  | -6
AD |  | CBOB14/14-4w | 14x14 Curved Blade 4-Way |  | 1
AD |  | CBOB8/8-4w | 08x08 Curved Blade 4-Way |  | 2
AD |  | DG316/16 | 16x16 Door Grille - White |  | 1
AD |  | FL10-4ftx1sl#33 | Flowbar - 4'-0"x1-1" Slot #33 & Hangers |  | 3
AD |  | GC508/8-1/2 | 8x8x1/2" Cube White W/OB |  | 4
AD |  | GC5L22/22NK-1/2 | 1/2" Cube |  | 1
AD |  | GC5O8/8-1/2 | 8x8x1/2" Cube White |  | 38
AD |  | HDRAIS10/6 | 10x6 HD Return w/Insulation, Screen - White |  | 1
AD |  | ML38-60/02 | 60x02 Linear Slot Diffuer w/one (1) end flange |  | 2
AD |  | PAR24X24-22X22 | 24x24-22x22 Steel Perf. Return - White |  | 0
AD |  | PAS-AA | TITUS 10" ROUND ALUMINUM PERF |  | 1
AD |  | PCRT24X24-22X22 | 24x24-22x22 Aluminum Perf Return - White |  | 1
AD |  | PF-SM-24/24 | 24x24 Surface Mount Drywall Plaster Frames. NOT FOR T-BAR USE |  | 29
AD |  | PLENUM-ASDI-36/02-3/4-(1)6 | 3'ft x 2-3/4" slot w/(1) 6" Insulation Plenum for ASDI |  | 6
AD |  | PLENUM-ASD-I-72/02-3/4-(1)8 | 6'ft x 2-3/4" slot w/(1) 8" Insulation Plenum for ASD-I |  | 2
AD |  | PLENUM-ASD-I-72/02sl-3/4-(2)8 | 6'ft x 2-3/4" slot w/(2) 8" Insulation Plenum for ASD-I |  | 2
AD |  | PLENUM-ISI/24" | Plenum 24" |  | 14
AD |  | PS1-24/24-8 | 24x24-8" rnd Aluminum Perf. Supply Diffuser - White |  | 8
AD |  | RA10/8 | 10 x 8 Return Grille |  | 1
AD |  | RA12/12 | 12x12 Return Grille |  | 2
AD |  | RA16/16 | 16x16 Return Grille |  | 2
AD |  | RA36/16 | 36x16 Return Grille |  | 1
AD |  | RA6/6 | 6x6 Return Grille |  | 1
AD |  | RA8/6 | 8x6 Return Grille |  | 3
AD |  | RA8/8 | 8x8 Return Grille |  | 0
AD |  | RAAG20x20x1x1x1 | Eggcrate 1x1x1-20x20 |  | 1
AD |  | RAAG-S-22/22 | 22x22 |  | 1
AD |  | RAAGT-1/2-24/24 | Eggcrate 1/2" sq.-24x24 Layin
AD |  | RAAGT24/24-22/22 | 22x22 Neck - 1/2" Cube |  | 0
AD |  | RACB24/12 | 24x12 Return Air Grille w/ curved vane |  | 5
AD |  | RAFB30/30 | 30x30 Return Filter |  | 1
AD |  | RAME-OB12/12 | 12x12 Return Grille w/obd |  | 2
AD |  | RAOB18/18 | 18x18 Return Grille |  | 2
AD |  | RA-PLT-6/6 | 6x6 |  | 1
AD |  | RA-PLT-OB-10/10 | 10x10 |  | 7
AD |  | RA-PLT-OB-9/9 | 9x9 |  | 3
AD |  | RDAS10-OBDR | 10" nk Round Diffuser w/obd |  | 0
AD |  | RDAS12 | 12" nk Round Diffuser |  | 0
AD |  | RDF/KBI24-14 | Inline Fan |  | 1
AD |  | RF2DS24/12 | 24x12 RAG FB DS |  | 1
AD |  | RF2DS24/18 | 24X18 |  | 7
AD |  | RF2T24/24 | 24x24 Lay-in Return Filter |  | 0
AD |  | RNSL24/24-14 | 24x24-14" rnd. Steel Cone Diffuser |  | 0
AD |  | RNSL2424-10 | 24x24-10" rnd. Steel Cone Diffuser |  | 0
AD |  | RNSL8 | 08" 24X24-L-AW Steel Ceiling Diffusers |  | 4
AD |  | ROI24/24 | Low Temp Diffuser |  | 1
AD |  | RT100-12/6 | 12x6 w/cable |  | 1
AD |  | RT150 | 8" Neck with cable |  | 1
AD |  | TDC-12/12-2wc | 12x12-2WC Ceiling Diffuer |  | 1
AD |  | TFHC6L24/24 | 6" Thermafuser |  | 1
AD |  | UNI |  |  | 0
AD |  | UNI06 |  |  | 0
AD |  | UNI10 | UNI 10" 24 X 24 |  | 0
AD |  | UNI102424 | UNI 24 X 24 - 10" |  | 0
AD |  | UNIDF14L24/24 | Sales Sample |  | 1
AD |  | UNIPDL24/24 | Sales Sample |  | 1
AD |  | VD12/6 | 12x6 Single Deflection w/obd |  | 3
AD |  | VD6/6 | 6x6 Single |  | 2
AD |  | VHOB10/5 | 10x5 Dble Deflection Sidewall w/obd
AD |  | VHOB16/16 | 16 x16 Dble Deflection Sidewall w/obd |  | 1
AD |  | VHOB18/12 | 18 x12 Dble Deflection Sidewall w/obd |  | 3
AD |  | VHOB24/8 | 24x8 Dble Deflection Sidewall w/obd |  | 1
AD |  | VHOB36/16 | 36x16 Dble Deflection Sidewall w/obd |  | 1
AD |  | VMLME6/6 | 6x6 |  | 3
AD |  | VPOB12/12 | Dampers for Airguide Model AVP Ceiling Diffusers |  | 9
AD |  | VPOB6/6 | Dampers for Airguide Model AVP Ceiling Diffusers |  | 5
AD |  | VPOB9/9 | Dampers for Airguide Model AVP Ceiling Diffusers |  | 13
AD |  | X2HO30/10 | 30x10 Dble Deflection w/obd |  | 3
DMP | AD | 08SCL12/12 | 12x12 Duct Access Door c/w camlocks |  | 0
DMP | BD | 1310-26/26 | 26x26 Duct Mount Backdraft Damper CBD-MI (Motor in Air Stream - 1 VAC)
DMP | BD | 1310-50/50 | 50x50 Duct Mount Backdraft Damper CBD-MI (Motor in air stream 1 VAC)
DMP | CRD | 0716A | 16x16 RAD Damper |  | 3
DMP | CRD | 0722-12 | 12" Round Radiation Damper |  | 1
DMP | CRD | 0722-14 | 14" Round Radiation Damper |  | -1
DMP | FD | 012412v26/16 | 0124-12v 26x16 |  | 0
DMP | FD | 0124-12V26/16 | 0124-12V 26 X 16 |  | 0
DMP | FD | 0210V-24/48 | 24x48- Type "A" Vertical Thinline Fire Damper w/8" sleeve |  | 1
DMP | FD | D0114H12-19/19 | 19x19 "A" 12" Slv 22ga dynamic |  | 0
DMP | FD | D0114V12-16/16 | 16x16 "A" 12" Slv 22ga dynamic |  | 5
DMP | FD | D0120-12V42/14 | D0120-12 V 42 X 14 22G QS2 |  | 0
DMP | FD | D0120-38/16 | 38x16 Dynamic F/D "b" 12" slve, 22ga, angles |  | 1
DMP | FD | D0120-40/22 | 40x22 Dynamic "B" F/D 12" Slve, 22ga, angles |  | 0
DMP | FD | D0120G-12/6 | 12x6 Grille Mount F/D |  | 7
DMP | FD | D0120G-18/6 | 18x6 GRILLE MOUNT F/d |  | 2
DMP | FD | D0120G-24/12 | 24x12 GRILLE MOUNT F/D |  | 7
DMP | FD | D0124H12-12/12-QS2 | 12x12 Type "B" w/Sleeves & Angles |  | -1
DMP | FD | D0124H12-14/12 | 14X12 Type "B" Horizontal Fire Damper w/22ga 12" sleeve |  | 0
DMP | FD | D0124H12-16/16 | 16X16 Fire Damper 22ga 12" sleeve |  | 0
DMP | FD | D0124H12-6/6 | 6x6 Fire Damper w/12" sleeve |  | 1
DMP | FD | D0124V12-10/14 | 10x14 12" Slv 22ga Dynamic w/angles
DMP | FD | D0124V18/12-12 | 18x12 Dynamic "B" F/D w/12" Slve 22 ga, angles |  | 1
DMP | FD | D0124V18/16-12 | 18x16 Dynamic "B" F/D w12" slve 22 ga & angles |  | 0
DMP | FD | D0124V24/10-12 | 24x10 Dynamic "B" F/D w/12" Slve 22 ga, angles |  | 0
DMP | FD | D0124V28/18-12 | 28x18 Dynamic "B" F/D w/12" slve, 22ga, angles |  | 2
DMP | FD | D0124V36/24-12 | 36x24 Dynamic "B" F/D w/12" slve, 22ga, angles |  | 8
DMP | FD | D0134V12-8rnd | 08" Round Dynamic F/D w/22ga 12" Sleeve |  | 0
DMP | FSD | 1221-12/12 | 12x12 Fire Smoke Damper w18 ga , 16" Sleeve and 120V Actuator - ENG. DEMO UNIT |  | 1
DMP | FSD | 1271-26/16 | 26x16 Fire Smoke Damper w/20ga 16" sleeve, no actuator or angles |  | 1
DMP | FSD | 1273-36/24-38/26 | 36x24 or 38x26 Fire Smoke Damper with ML4115, MLS300, QS1 |  | 1
DMP | FSD | 771-12/10 | 12x10 Fire Smoke Dampers w/16" Sleeve w/24 volt |  | 1
DMP | FSD | D1242-16-120V-12/4V | 12x04 FSD w/16" Sleeve, 120v Actuator
DMP | MD | 1010-28/28 | 28x28 Opposed Blade Balancing Damper w/s.p. |  | 1
DMP | MD | 1012-16/8 | 16x08 Stnd Cntrl Dmpr, No Seals or Quads |  | 1
DMP | MD | 1012-20/8 | 20x8 Standard Control Parallel Blade Damper |  | 1
DMP | MD | 1012-32/14 | 32x14 Parallel Blade Standard Control Damper |  | 3
DMP | MD | 1020-12/6 | 12x6 Control Damper w/actuator mtg plate |  | 1
DMP | MD | 1020-18/16 | 18x16 Opposed Blade Low Leakage Control Damper
DMP | MD | 1022-12/14 | 12x14 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1022-12/24 | 12x24 Stnd Cntrl Dmpr, No Seals or Quads |  | 2
DMP | MD | 1022-14/14 | 14x14 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1022-16/16 | 16x16 Stnd Cntrl Dmpr, No Seals or Quads |  | -2
DMP | MD | 1022-20/20 | 20x20 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1022-25/18 | 25x18 Stnd Cntrl Dmpr, No Seals or Quads |  | 2
DMP | MD | 1022-34/14 | 34x14 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1022-40/14 | 40x14 Standard Control Damper, No Quads, No Seals |  | 1
DMP | MD | 1022-42/14 | 42x14 Stnd Cntrl Dmpr, No Seals or Quads |  | 1
DMP | MD | 1022-42/20 | 42x20 Stnd Cntrl Dmpr, No Seals or Quads |  | 1
DMP | MD | 1022-46/18 | 46x18 Stnd Cntrl Dmpr, No Seals or Quads |  | 1
DMP | MD | 1022-46/22 | 46x22 Stnd Cntrl Dmpr, No Seals or Quads |  | 2
DMP | MD | 1022-48/24 | 48x24 Stnd Cntrl Dmpr, No Seals or Quads
DMP | MD | 1090-10 | 10" Round Manual Volume Damper (Wallmart Dampers) |  | 4
DMP | MD | 1090-12 | 12" Round Manual Volume Damper (Wallmart Damper) |  | 3
DMP | MD | 1090-14 | 14" Round Manual Volume Damper (Wallmart Damper) |  | 1
DMP | MD | 1090-6 | 06" Round Manual Volume Damper (Wallmart Damper) |  | 0
DMP | MD | 1090-8 | 08" Round Manual Volume Damper (Wallmart Damper) |  | 1
DMP | MD | 1810-12/6 | 12x6 Parallel Blade Balancing Damper |  | 0
DMP | MD | 1810-24/10 | 24x10 Parallel Blade Balancing Damper |  | 1
DMP | MD | 1810-46/18 | 46x18 Parallel Blade Balancing Damper |  | 1
DMP | MD | 1810-8/6 | 08x06 Parallel Blade Balancing Damper |  | 0
DMP | MD | 1820-12/12 | 12x12 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1820-14/12 | 14x12 Balancing Damper - Opposed |  | 0
DMP | MD | 1820-14/14 | 14x14 Opposed Blade Balancing Damper
DMP | MD | 1820-16/14 | 16x14 Standard Control Damper, No Quads, No Seals |  | 1
DMP | MD | 1820-16/16 | 16x16 Opposed Blade Balancing Damper |  | 1
DMP | MD | 1820-18/12 | 18x12 Balancing Damper - Opposed |  | 0
DMP | MD | 1820-18/14 | 18x14 Stnd Cntrl Dmpr, No Seals or Quads |  | 7
DMP | MD | 1820-18/16 | 18x16 Opposed Blade Balancing Damper
DMP | MD | 1820-18/18 | 18x18 Opposed Blade Balancing Damper |  | 0
DMP | MD | 1820-20/12 | 20x12 Stnd Cntrl Dmpr, No Seals or Quads |  | 1
DMP | MD | 1820-20/14 | 20x14 Opposed Blade Balancing Damper |  | 2
DMP | MD | 1820-20/20 | 20x20 Opposed Blade Balancing Damper |  | -2
DMP | MD | 1820-22/14 | 22x14 Standard Control Damper, Mo Quads, No Seals |  | 1
DMP | MD | 1820-24/16 | 24x16 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1820-24/24 | 24x24 Standard Control Damper, No Quads, No seals |  | 2
DMP | MD | 1820-30/16 | 30x16 Opposed Blade Balancing Damper. Quadrant #HL2 |  | 1
DMP | MD | 1820-30/36 | 30x36 Standard Control Damper, No Quads, No Seals |  | 1
DMP | MD | 1820-32/14 | 32x14 Standard Control Damper, No Quads, No Seals |  | 0
DMP | MD | 1820-32/16 | 32x16 Stnd Cntrl Dmpr, No Seals or Quads |  | 0
DMP | MD | 1820-34/18 | 34x18 Opposed Blade Balancing Damper, Quadrant #HL2 |  | 1
DMP | MD | 1820-36/24 | 36x24 Standard Control Damper, No Quads, No Seals |  | 0
DMP | MD | 1820-38/38 | 38x38 Stnd Cntrl Dmpr, No Seals or Quads |  | 1
DMP | MD | 1820-40/26 | 40x26 Opposed Blade Balancing Damper |  | 0
DMP | MD | 1820-44/20 | 44x20 Opposed Blade Balancing Damper |  | 1
DMP | MD | 1820-46/18 | 46x18 Standard Control Damper, No Quads, No Seals |  | 1
DMP | MD | 1820-46/22 | 46x22 Standard Control Damper, No Quads, No Seals |  | 2
DMP | MD | 1820-48/24 | 48x24 Standard Control Damper, No Quads, No Seals |  | 0
DMP | MD | 1820-8/12 | 8x12 Balancing Damper - Opposed |  | 0
DMP | MD | 1820-8/14 | 8x14 Balancing Damper - Opposed |  | 1
DMP | MD | 1870-10/6 | 10x6 Single Blade Balancing Damper |  | 4
DMP | MD | 1870-12/10 | 12x10 MVD |  | 4
DMP | MD | 1870-12/6 | 12x6 MVD |  | 47
DMP | MD | 1870-12/8 | 12x8 Single Blade Balancing Damper |  | 4
DMP | MD | 1870-14/12 |  |  | 1
DMP | MD | 1870-14/8 | 14x8 Parallel Blade Balancing Damper |  | 1
DMP | MD | 1870-18/10 | 18x10 Single Balde Balancing Damper |  | 1
DMP | MD | 1870-18/12 | 18x12 Single Blade Balancing Damper |  | 1
DMP | MD | 1870-20/18 | 20x18 Single Blade Balancing Damper |  | 0
DMP | MD | 1870-20/8 | 20x8 Single Blade Balancing Damper |  | 2
DMP | MD | 1870-24/6 | 24x6 MVD |  | 1
DMP | MD | 1870-24/8 | 14x12 MVD |  | 2
DMP | MD | 1870-8/6 | 8x6 Single Blade Balancing Damper |  | 0
DMP | MD | 1870-8/8 | 8x8 Single Blade Balancing Damper |  | 1
DMP | MD | -40/14 | 40x14 Standard Control Damper, No Quads, No Seals
DMP | SD | 1211-12/12 | 12x12 Smoke Only w/16" Sleeve, 120 volt |  | 1
FAN | ACC | 10CM | 10" Curb Mounted Vent Cap-12" sq. Cap (10.5) |  | 1
FAN | ACC | 11FR | Vent w/integral Curb |  | 1
FAN | ACC | 120/24V-50VA Transformer | 120 24V-50VA (vav's) Transformer
FAN | ACC | 208/308 (277) Transformer | 208/380 (277)-115, 50VA w/junction box |  | 3
FAN | ACC | 2115ARR/9CL1 | 1/2hp 208/230/460/3/60 1800 rpm |  | 0
FAN | ACC | 366 | 120/1/60 (935 cfm @ .125) |  | 1
FAN | ACC | 383 | 4.5/5.0 Sones (310 Cfm @ .125)
FAN | ACC | 3A-120V Speed Control | 3 amp 120v Speed Control
FAN | ACC | 57WSSC | 3 amp Speed Control Switches |  | -33
FAN | ACC | 5C25 | 2.5 AMP Speed Controls |  | -6
FAN | ACC | 611CM | 08" Aluminum Vent (14.5) |  | 3
FAN | ACC | 612CM | 12" Aluminum Vent (16.5) |  | 3
FAN | ACC | 636 | Roof Cap
FAN | ACC | 639-3.25/10-WC | 3-1/4"x10 Wall Cap |  | 1
FAN | ACC | 641 | 6" Wall Caps |  | 30
FAN | ACC | 642 | 4" Round Wall Cap |  | 0
FAN | ACC | 643-8 | 8" Wall Cap for round duct |  | 3
FAN | ACC | 643WC-8 | 8" Aluminum Wall Cap |  | 0
FAN | ACC | 644 | 3-1/4x10 Roof Cap |  | 6
FAN | ACC | 6493.25/10wallcap | 3-1/4" x 10 Wall Cap |  | 12
FAN | ACC | 64V | Fan/Light Control w/ Delay-120v |  | 0
FAN | ACC | 6WC | 6" Wall Cap
FAN | ACC | 71V | 12 Hour Timer 10/20amp |  | 3
FAN | ACC | 838A-3.25x10 | 3.25x10 Aluminum Wall Cap |  | 3
FAN | ACC | 885-AL-3in/4in | 3" or 4" Aluminum Wall Cap |  | 3
FAN | ACC | 921445 | MOTOR FOR FN |  | 0
FAN | ACC | 921734-PV Mtr | 1/4hp 115/1 1sp ODP for PV fan |  | 1
FAN | ACC | 921762 | 1/4 hp 115/1/60/odp (1625) |  | 0
FAN | ACC | 922768-MTR-PNU185 | Motor replacement for PNU185RFG, 1/2 HP 115/110/1/60/50/ODP |  | 0
FAN | ACC | 923772 | 1 HP 115V/208/230 FR-5670 |  | 1
FAN | ACC | 927031 | Motor for VQ150 (1/29HP-115V/1) 1750 |  | 3
FAN | ACC | 927033 | VQ-VQL200 MOTOR ONLY |  | 1
FAN | ACC | 961L | 06" Round Inline Adpater Kit (VQ100, 150) |  | 9
FAN | ACC | 981L | 08" Round Inline Adpater Kit (VQ 200, 250, 300) |  | 3
FAN | ACC | 982L | 4.5"x18.5" Inline Adpater Kit (VQ400, 500, 700) |  | 8
FAN | ACC | ADV3 | 3" Aluminum Wall Cap w/BDD |  | 11
FAN | ACC | ADV-5 | 5" Wall Caps w/birdscreen |  | 4
FAN | ACC | C63CX6TZ4718 | 3/4 HP 115-208-230V 1725 RPM |  | 1
FAN | ACC | HRI-100/137 ISO | HRI 100-137 Isolators (Steel Fans) |  | 2
FAN | ACC | HSI-XD200 | XD-200 Isolators |  | 1
FAN | ACC | JUNCTION BOXES | Junction Boxes Total Enclosed |  | 6
FAN | ACC | KBWC110K-SpdControl-10A-120v | 10 amp, 120v Speed Control |  | 0
FAN | ACC | KBWC15K-SpdControl-5A-120v | 5 amp, 120v Speed Control |  | 2
FAN | ACC | LT30-SpdControl-3A-120v | 3 amp, 120v Speed Control |  | -8
FAN | ACC | LT70-SpdControl-8A-240v | 8 amp, 120v Speed Control |  | 3
FAN | ACC | NEMA3R7.5HSP | NEMA 3R 7.5 HSPMAX FOR FQ129 FAN |  | 0
FAN | ACC | Q0200TR-MoldedCaseSwt | 60amp 240v Molded Case Disc Swt |  | 7
FAN | ACC | SC25 | 2.5 Amp Speed Controls |  | 50
FAN | ACC | SSC Junction Boxes | Junction Boxes for SSC |  | 10
FAN | ACC | SSC-FQ129 | SSC FOR FQ 129 FAN |  | 0
FAN | ACc | TNC-T1517-120 | Fan Delay Time - 2 wire - 1 phase |  | 12
FAN | ACC | VQ100/300Grilles | Plastic Grille for VQ100-300 |  | 4
FAN | ACC | WAGH48/60 | 48x60 Back Draft Damper |  | 1
FAN | ACC | WC12FQ | DISCONNECT SWITCH FOR FQ129 |  | 0
FAN | CEILING | CF225 | 182 cfm @ .125" sp 115-1-60
FAN | CEILING | EB100FC | 94 cfm @ .125" sp 115-1-60 |  | 4
FAN | CEILING | EB50FC | 45 cfm @ .125" sp 115-1-60 |  | 0
FAN | CEILING | EB55 |  |  | 1
FAN | CEILING | EB60FC | 59 cfm @ .125" sp 115-1-60 |  | 31
FAN | CEILING | L100 | Clg. Cab. Fan (109 cfm @ .125") |  | 0
FAN | CEILING | QB200 | 193 cfm @ .125" sp 115-1-60 |  | 1
FAN | CEILING | QB80 | 64 cfm @ .125" sp 115-1-60 |  | 2
FAN | CEILING | QB80FF | 64 cfm @ .125" sp 115-1-60 w/mtd ssc |  | 0
FAN | CEILING | QCF125 | 117 cfm @ .125" sp 115-1-60 |  | 5
FAN | CEILING | QCF145 | 131 cfm @ .125" sp 115-1-60 |  | 6
FAN | CEILING | QCF200 | 192 cfm @ .125" sp 115-1-60 |  | 11
FAN | CEILING | QCF300 | 266 cfm @ .125" sp 115-1-60 |  | 4
FAN | CEILING | QCF400 | 315 cfm @ .125" sp 115-1-60 |  | 3
FAN | CEILING | QCF500 | 495 cfm @ .125" sp 115-1-60 |  | 1
FAN | CEILING | QCF600 | 620 cfm @ .125" sp 115-1-60 |  | 2
FAN | CEILING | QCF95 | 81 cfm @ .125" sp 115-1-60 |  | 1
FAN | CEILING | QFC95
FAN | CEILING | QT110 | 110 cfm fan |  | 2
FAN | CEILING | QT80 | 80 cfm fan |  | -4
FAN | CEILING | V50(Old#) | Clg. Cab. Fan (47cfm @ .125") |  | 44
FAN | CEILING | VQ050 | Clg. Cab. Fan ( 47 cfm @ .125") |  | -2
FAN | CEILING | VQ080 | Clg. Cab. Fan ( 87 cfm @ .125") |  | 13
FAN | CEILING | VQ100 | Clg. Cab. Fan (109 cfm @ .125") |  | 10
FAN | CEILING | VQ150 | Clg. Cab. Fan (157 cfm @ .125") |  | 25
FAN | CEILING | VQ1500 | Clg. Cab. Fan (cfm @ ) |  | 0
FAN | CEILING | VQ200 | Clg. Cab. Fan (210 cfm @ .125") |  | 27
FAN | CEILING | VQ250 | Clg. Cab. Fan (259 cfm @ .125") |  | 12
FAN | CEILING | VQ300 | Clg. Cab. Fan (308 cfm @ .125") |  | 12
FAN | CEILING | VQ300/277v | Clg. Cab. Fan (277 Volt) |  | 1
FAN | CEILING | VQ400 | Clg. Cab. Fan (434 cfm @ .125") |  | 3
FAN | CEILING | VQ500 | Clg. Cab. Fan (514 cfm @ .125") |  | 5
FAN | CEILING | VQ50MTR | Motor and Wheel for a VQ50 |  | 1
FAN | CEILING | VQ700 | Clg. Cab. Fan (701 cfm @ .125") |  | 1
FAN | CEILING | VQ900 | VQ900 Exhaust Fan 120/1/60 |  | -1
FAN | CEILING | VQL150 | VQL150 120/1/60 |  | 0
FAN | CEILING | Z101S | 115/1/60 ( 537 cfm @ .125") |  | 1
FAN | CEILING | Z102H | 115/1/60 (1385 cfm @ .125") |  | 1
FAN | CEILING | Z102S | 115/1/60 (747 cfm @ .125") |  | 1
FAN | CURB | C08-19.5 | 19.5 x 19.5 x 8" High |  | 1
FAN | CURB | C12-12 | 12x12x12 No cant w/ nailer, insulation. |  | 0
FAN | CURB | C12-14.5 | 14.5x14.5x12 No cant, w/nailer and insulation |  | -1
FAN | CURB | C12-16.5 | 16.5x16.5x12 No cant, No-nailer, w/insulation |  | 7
FAN | CURB | C12-19.5 | 19.5x19.5x12 No cant, No nailer, w/insulation |  | 0
FAN | CURB | C12-20.5 | 20.5x20.5x12 No cant, No nailer, w/insulation |  | 5
FAN | CURB | C12-22.5 | 22.5x22.5x12 No cant, No nailer, w/insulation |  | 2
FAN | CURB | C12-24.5 | 24.5x24.5x12 No cant, No nailer, w/insulation |  | 3
FAN | CURB | C12-26.5 | 26.5x26.5x12 No cant, No nailer, w/insulation |  | 0
FAN | CURB | C12-26.5 n/cnt | 26.5 x 26.5 x 12 w/cant, nailer,insul |  | 0
FAN | CURB | C12-26.5/23.5 | 26.5/23.5 CURB |  | 0
FAN | CURB | C12-28.5 | 28.5x28.5x12 No cant, No nailer, w/insulation |  | 0
FAN | CURB | C12-29.5 | 29.5x29.5x12 w/nailer no cant, no Insul |  | 0
FAN | CURB | C12-30.5 | 30.5x30.5x12 No cant, No nailer, w/insulation |  | 0
FAN | CURB | C12-32.5 | 32.5x32.5x12 No cant, No nailer, w/insulation |  | 0
FAN | CURB | C12-35 | C 35 X 35 X 12 W/NAILER NO CANT NO INSUL |  | 0
FAN | CURB | C14-18.5 | 18.5 X 18.5 X 14 W/NAILER W/INSUL / W/BURGLER BARS NO CANT |  | 0
FAN | CURB | C18-14.5 | 14.5x14.5x18 No cant, w/nailer and insulation |  | 3
FAN | CURB | C18-16.5 | 16.5x16.5x18 No cant, w/nailer and insulation |  | 6
FAN | CURB | C18-19.5 | 19.5x19.5x18 No cant, w/nailer and insulation |  | 7
FAN | CURB | C18-20.5 | 20.5x20.5x18 No cant, w/nailer and insulation |  | 1
FAN | CURB | C18-22.5 | 22.5x22.5x18 No cant, w/nailer and insulation |  | 4
FAN | CURB | C18-24.5 | 24.5x24.5x18" Galv. Curb |  | 3
FAN | CURB | C18-26.5 | 26.5x26.5x18 No cant, w/nailer and insulation |  | 3
FAN | CURB | C18-29.5 | 29.5x29.5x18 No cant, w/nailer and insulation |  | 1
FAN | CURB | C18-30.5 | 30.5x30.5x18 no insul, no cant, no nailer, no gasket |  | 0
FAN | CURB | C18-32.5 | 32.5x32.5x18" High Galv Curb |  | 0
FAN | CURB | C18-36.5 | 36.5x36.5x18 No cant, w/nailer and insulation |  | 2
FAN | CURB | C18-38.5 |  |  | 1
FAN | CURB | C18-44.5 | 44.5x44.5x18 No cant, w/nailer and insulation |  | 0
FAN | CURB | C18-48.5 | 48.5x48.5x18 No cant, w/nailer and insulation |  | 0
FAN | CURB | C18-54.5/72.5 | 54.5X72.5X18 Insulated Curb |  | 0
FAN | GV | EV42 |  |  | 0
FAN | GV | LQV10 | 10" Gravity Vent w/bs (20.5) |  | -1
FAN | GV | LQV12 | 12" Gravity Vent w/bs (22.5) |  | 7
FAN | GV | LQV14 | 14" Gravity Vent w/bs (24.5) |  | 2
FAN | GV | LQV16 | 16" Gravity Vent w/bs (26.5) |  | 3
FAN | GV | LQV18 | 18" Gravity Vent w/bs (29.5) |  | 0
FAN | GV | LQV21 | 21" Gravity Vent w/bs ( ) |  | 0
FAN | GV | LQV24 | 24" Gravity Vent w/bs |  | 0
FAN | GV | LVN48/66 | 48x66 LVN 8-Tier Intake Vent Louvered Penthouse (20,826 cfm @.15) |  | 0
FAN | INLINE | XB161J | 460/3/60 odp w/belt guard/outlet guard, hsi161 |  | 0
FAN | INLINE | XD161D8 | Inline Fan w/1/6hp-115-1-60-odp-ssc |  | -1
FAN | INLNE | XB120F | 1/3hp 115/1 1sp w/odp |  | 0
FAN | PRV | ECH-S24F(CONSIGNMENT) | 115/1/60 1/3hp Tead Var Pitch (32.5) |  | 0
FAN | PRV | LQ14-F4 | 115/1/60 1/3hp tefc w/tol (24.5) |  | 1
FAN | PRV | PNN135F | 1/3hp 115/1 (Needs to be painted) |  | 1
FAN | PRV | PNU120RG-E4 | PNU120RG E4 1/4HP 115/1/60/ODP W/TOL (1112 RPM), ROOF GREASE TROUGH S1-829209 |  | 1
FAN | PRV | PNU135RFH2 | 3/4hp 230/1/60 odp (22.5) (AR18) |  | 1
FAN | PRV | PNU135RG | 1/3hp 115/1 XP w/Heresite Coating |  | 0
FAN | PRV | PNU150RG-F | 1/3hp 115/1/60 odp 1052 rpm (26.5) (AR22) |  | 1
FAN | PRV | PNU165RFK | 1.5hp 200/3/60 odp 1771 rpm (26.5) (AR22) |  | 1
FAN | PRV | PRN100 | 1/10hp 115/1 w/Mounted, ssc and ds w/tol (14.5) ( AR11) |  | 5
FAN | PRV | PRN110 | 1/10hp 115/1 w/Mounted, ssc and ds w/tol (14.5 AR11) |  | 3
FAN | PRV | PRN135G | 1/2hp 115/1 w/Mounted, ssc and ds (19.5 AR16) |  | 1
FAN | PRV | PV075E3 | 1/4hp 115/1 1sp odp w/tol (19.5 AR16) |  | 4
FAN | PRV | PV075E5 | 1/4hp 115/1 1sp odp w/tol (19.5 AR16) |  | -1
FAN | PRV | PV085E3 | 1/4hp 111/5hp 1sp odp w/tol (19.5 AR16) |  | -2
FAN | PRV | PV085E5 | 1/4hp 115/1 1sp odp (19.5 AR16) |  | 1
FAN | PRV | PV100E3 | 1/4hp 115/1 1sp odp w/tol (19.5 AR16) |  | 1
FAN | PRV | PV100E5 | 1/4hp 115/1 1sp odp w/tol (19.5 AR16) |  | 1
FAN | PRV | PV120E5 | 1/4hp 115/1 1sp odp w/tol (19.5 AR16) |  | 1
FAN | PRV | PV120E6 | 1/4hp 115/1 1sp odp w/tol (19.5 AR16) |  | 3
FAN | PRV | PV135F | 1/3hp 115/1 1sp odp (19.5 AR16) |  | 1
FAN | PRV | PV165G | 1/2hp 115/1 w/odp, w/tol (22.5 AR18) |  | 2
FAN | PRV | PV200-E1 | PV200-E1, 1/4HP 115/1/60 ODP W/TOL (26.5) (AR22) |  | 1
FAN | WALL PROP | K36-1.5hp-460/3-ODP-WB | Wall Prop - 1.5hp-460/3-odp w/wall box |  | 1
FAN |  | 8070SA-8in | 8" Automatic Wall Fan |  | 1
FAN |  | DMS-T15 | Twin Blower w/ 3hp 208/3/60 w/ Filter |  | 1
FAN |  | FNR14 | Wall Prop |  | 0
FAN |  | FQ129 | FQ129 |  | 0
FAN |  | GVSelfFlashing12/12 | 12x12 GV Self Flashing (not curb mt) |  | 1
FAN |  | HA16UF | Sample Tube Axial - High Temp |  | 1
FAN |  | JC14CC14X14 | 14x14 GV T-Curb Mt, (22x22 Cap) (20.5) |  | 1
FAN |  | KBWC110K-SPDCONTROL-3A | 3 AMP |  | 4
FC |  | BHO-06-L-3ROW | Fan Coil Unit, left side, 3-row, 2-kw heater, 230v, no valves |  | -1
FC |  | BHO-06-L-4ROW | Fan Coil Unit, left side, 4-row, 2-kw heater, 220v, 3-way valve, 115v motor, 24v control |  | 1
FC |  | BHO-06-R-3ROW | Fan Coil Unit, right side, 3-row, 2-kw heater, 230 v, no valves |  | 2
FC |  | BHO-06-R-4ROW | Fan Coil Unit, right side, 4-row, 2-kw heater, 220v, 3-way valve, 115v motor, 24v control |  | -1
LVR |  | DB38-12/18 | 12x18 Ext Alum Clear Anod. |  | 0
LVR |  | EX157-16x8x4-CA | 16x8x4 Deep - Clear Anodize |  | 15
LVR |  | FL11.5/11.75 | 11.5x11.75 Flanged Brick Vents W/Mill Finsh and Screen |  | 0
LVR |  | FL157-16x8x2-CA | 16x8x2 Deep w/Flange - Clear Anodized |  | 2
LVR |  | FL7.5/7.75 | 7.5x7.75 Flanged Brick Vents W/Mill Finish and Screen |  | 2
LVR |  | FL8.5/7.75 | 8.5x7.75 Flanged Brick Vents W/Mill Finish and Screen |  | -1
LVR |  | FL9.5/9.75 | 9.5x9.75 Flanged Brick Vents W/Mill Finish and Screen |  | 2
LVR |  | LE-32-18/24 | 18 x 24 Ext Alum Kynar Finish Slat Grey (sample) |  | 0
LVR |  | OL436/36CHKMILL | 36 X 36 OL4CHK MILL FINISH EXTRUDED ALUM |  | 0
LVR |  | OL4CH-24/24-BS-WH | 24x24 Channel Frame, w/bs - White |  | 0
LVR |  | OL4fk36/36-MILL | 36X36 OL4FK-MILL |  | 2
MISC |  | 676 |  |  | 56
MISC |  | CN18-14.5 | 14.5x14.5x18 No Insulation and No Retainer |  | 0
MISC |  | DCI-RAB30UW | Speed Control from Design Controls |  | 1
MISC |  | DHX1000 | DHX 1000 |  | 0
MISC |  | DOUBLEVELOCITYACTUATORS | PNEU VELOCITY ACTUATORS DOUBLE ACTION |  | 7
MISC |  | EPL08-ALUM |  |  | 14
MISC |  | ETACTRT | DDC ACTUATOR |  | 3
MISC |  | FASD06 | 6" Single Duct - Pnuematic |  | 1
MISC |  | LDOB42/6 |  |  | 1
MISC |  | MISC INVENTORY |  |  | -30
MISC |  | O2 | Pipe Pillow Blocks |  | 38
MISC |  | PLUNGERVAV6 | 6" Tubular VAV (Plunger type) |  | 2
MISC |  | PNEU-CONTROLS |  |  | 1
MISC |  | PS1-12 | 12" |  | 3
MISC |  | PS1-6 | 6" |  | 2
MISC |  | R/E06 | 6" Core Only Box w/pneumatic |  | 1